## NB
Earthchem vocabularies
https://www.earthchem.org/ecl/vocabularies/
NB - the order of this list should be as delivered. NOT alphabetically sorted.
# implies synonymous term(s) or abbreviation. Only first (preferred) term visible
Reference (e.g.)
https://serc.carleton.edu/research_education/geochemsheets/techniques/INAA.html
https://www.thermofisher.com/es/es/home/industrial/spectroscopy-elemental-isotope-analysis/spectroscopy-elemental-isotope-analysis-learning-center/trace-elemental-analysis-tea-information/atomic-absorption-aa-information.html

## Measurement technique
Technique
1 | 2 | 3
Atomic Absorption Spectrometry #Atomic Absorption Spectrometry #(AAS)
Graphite Furnace Atomic Absorption Spectrometry #GF-AAS #(GF-AAS) #(GFAAS)
Atomic Emission Spectrometry #Emission Spectrometry# Optical Spectroscopy #OPS #Optical Emission Spectrometry #(OES)
Direct Current Plasma Atomic Emission Spectrometry #DCP-AES #Direct Current Plasma #(DCP) #(DCPAES) #(DCP-AES)
Direct Reading Optical Emission Spectrometry #(DROES)
Inductively Coupled Plasma Atomic Emission Spectroscopy #ICP-AES #Inductively Coupled Plasma Source Emission Spectrometry #(ICP-AES) #(ICPAES)
Alpha Counting
Alpha Counting Isotope Dilution #ALPHA-ID
Anion Chromatography
Arc Spectrometry
Auto Analyzer
Automated Leaching #AUTLCH
Carbonate Bomb
Calcium Carbonate Preservation
Carbon Hydrogen Nitrogen Analysis #(CHN)
Carbon Hydrogen Nitrogen Gas Chromatography #CHN-G #(CHN-G)
Carbon Hydrogen Sulfur Elemental Analyzer #(CHS)
Combustion #CMBN
Carbon Nitrogen Sulfur Analyzer #(CNS)
Colorimetric Analysis
Coulometrical Analysis
Carbon Sulfur Analysis
Elemental Analysis
Electron probe micro-analyzer (EPMA) #Electron probe micro-analyzer #Electron Microprobe #(EPMA)
Fission Track
Flame Emission Spectroscopy #FL-ES #(FL-ES)
Film Polarography
Flame Photometry #(FPHOT)
Fourier Transform Infrared Spectrometry
Gamma Counting
Gas Chromatography
Glass Electrode #GL-EL #(GL-EL)
Gasometric Technique
High-Performance Liquid Chromatography
Iridium Coincidence Spectrometry
Loss on ignition
Ion Microprobe
Ion Chromatography
Gradient Ion-Chromatography
Infrared spectroscopy # Infra-red spectroscopy #Infrared Spectroscopy #Infrared Spectrometry #Infrared Spectrometer #Infra-red Spectrometry #Infra-red Spectrometer #IR-SP #(IR-SP)
Ion Sensitive Electrode
Inversion Volt-Ampermetry
Laser Fluorination
Manometry
Molybdate-Blue Spectrometry
Mossbauer Spectra
Mass Spectrometry
Accelerator Mass Spectrometry
Elemental Analyzer Continuous Flow Isotope Ratio Mass Spectrometry #EA-CF-IRMS #(EA-CF-IRMS) #(EACF-IRMS) #(EACFIRMS) #(EA-CFIRMS)
Gas Chromatography-Mass Spectrometry #GC-MS #(GC-MS) #(GCMS)
Inductively Coupled Plasma Mass Spectrometry #ICP-MS #ICP:MS #(ICP-MS) #(ICPMS)
High-Resolution Inductively Coupled Plasma Mass Spectrometry #HR-ICP-MS #High-Resolution-Inductively Coupled Plasma Mass
Multicollector Inductively Coupled Plasma Mass Spectrometry #MC-ICP-MS #(MC-ICP-MS) #(MC-ICPMS)
Inductively Coupled Plasma Mass Spectrometry Isotope Dilution #ICP-MS-ID #Isotope Dilution Mass Spectrometry #MS:ID #(ICP-MS-ID)
Laser Ablation Inductively Coupled Plasma Mass Spectrometry #LA-ICP-MS #Inductively Coupled Plasma Mass Spectrometry Laser Ablation Microprobe #ICP:LAM #Laser Ablation Inductively Coupled Plasma Mass Spectrometry #LA-ICPMS #(LA-ICPMS) #(LA-ICP-MS)
Laser Ablation Multicollector Inductively Coupled Plasma Mass Spectrometry #LA-MC-ICP-MS #(LA-MC-ICP-MS) #(LAMC-ICP-MS) #(LAMC-ICPMS)
Laser Ablation High-Resolution Inductively Coupled Plasma Mass Spectrometry #LA-HR-ICP-MS #(LA-HR-ICP-MS) #(LAHR-ICPMS)
Secondary Ionization Mass Spectrometry #MS-SIMS #MS:SIMS #Secondary Ion Mass Spectrometry
Spark Source Mass Spectrometry #SS-MS #SS:MS #Spark Source Mass Spectrometry
Spark Source Mass Spectrometry - Isotope Dilution #SS-MS-ID #SS:MS-ID #Spark Source Mass Spectrometry - Isotope Dilution #SS-ID #(SS-ID)
Thermal Ionization Mass Spectrometry #TI-MS #TI:MS# #Thermal Ionization Mass Spectrometry Isotope Dilution #TIMS Isotope Dilution #MS:TIMS-ID #Thermal Ionization Mass Spectrometer
Negative Thermal Ionization Mass Spectrometry #TI-MS-NEG #(TI-MS-NEG) #(TIMS-NEG) #(TIMSNEG)
Negative Thermal Ionization Mass Spectrometry Isotope Dilution #TI-MS-NEG-ID #(TI-MS-NEG-ID) #(TIMS-NEGID)
Mass Spectrometry Isotope Dilution #MS-ID #(MS-ID) #(MSID)
Neutron Activation Analysis #Instrumental Neutron Activation Analysis #INAA #Atomic Absorption Spectrometry #AAS Atomic Absorption
Epithermal Neutron Activation Analysis
Prompt-Gamma Neutron Activation Analysis #NAA-PG #PGNAA #(PGNAA)
Neutron Coincidence Counting
Nickel Sulfide Fire Assay Isotope Dilution #NSFA-ID #(NSFA-ID)
Penfield Method
Proton Microprobe
Potentiometry
Pyrohydrolysis #PYHY #(PYHY)
Refractometer
Rock Eval Pyrolysis
Radioanalytical Neutron Activation #RNAA #(RNAA)
Rapid Rock
Energy Dispersive X-Ray spectroscopy #SEM-Energy Dispersive X-Ray spectroscopy #SEM-EDS #SEM-EDX #(EDS) #(EDX)
Solid's Moisture Analysis
Spectrographic Analysis
Spectrophotometry #SP-PH
Titration
Ultraviolet Emission Spectrography #UV-ES
Vacuum Fusion #VAC-F
X-Ray Spectrometry # X-Ray Spectrometer# X-Ray Spectroscopy
X-Ray Absorption Near-Edge Structure Spectroscopy
Energy-dispersive X-ray spectroscopy #energy dispersive X-ray #(EDXA) #(EDAX) #(EDXMA)
X-Ray Fluorescence #XRF
Energy-Dispersive X-Ray Fluorescence #XRF-EDS
X-Ray Fluorescence Scanning #XRF-SCAN
X-ray diffraction #X-ray diffractometer #XRay Diffractometer #synchrotron Xray diffraction #XRD

## Measured property
Measured property #parameter
1 | 2 | 3 | Definition
acetate #Acetate
age of sample #sample age #assigned sample age #AGE:ASSIG #Geological Sample Age #Radio-Isotopic Sample Age #AGE:GEO #AGE-GEO
Argon-Argon Age #Ar40/Ar39 Age # Ar40/Ar39 Dating #Argon Argon Dating #Argon-Argon Dating #Argon-Argon #Argon/Argon #Argon Argon #Ar/Ar #Ar40-Ar39 Age #Ar40 Ar39 Age #Ar40_Ar39 Age Determination #AR_AR
Carbon-14 Age #Carbon-14 Dating #Carbon Dating #Carbon Age #C14 Age #C-14 Age #C14 Dating #C-14 Dating #Carbon 14 Age #Carbon 14 Age Determination #14C
Lead-Lead Age #Pb-Pb Age #Pb/Pb Age#Lead-Lead Dating#Pb-Pb Dating #PB-PB
Lutetium-Hafnium Age # Lutetium-Hafnium Dating #Lutetium/Hafnium Age #Lutetium/Hafnium Dating #Lutetium Hafnium Age #Lutetium Hafnium Dating #Lu/Hf Age #Lu/Hf Dating #Lu-Hf Age #Lu-Hf Dating #Lu Hf Age #Lu Hf Dating #Lutetium-Hafnium Age Determination #LU-HF
Kalium-Argon Age #Kalium Argon Age #Kalium/Argon Age # Kalium/Argon Dating #Kalium-Argon Dating #K-Ar Age #K/Ar Age #K/Ar Dating# K-Ar Dating #K-Ar Age Determination #K-AR
Rubium-Strontium Age #Rubium-Strontium Dating #Rb-Sr Age #Rb/Sr Age #Rb-Sr Dating # Rb/Sr Dating# Rb-Sr Age Determination #RB-SR
Radium-Thorium Age #Radium-226/Thorium230 Age #Radium/Thorium Age #Radium-Thorium Dating #Radium/Thorium Dating #Ra/Th Dating #Ra-Th Dating #Ra/Th Age #Ra-Th Age # Radium-226/Thorium230 Dating#Ra226_Th230 Age #Ra226_Th230 Age Determination #RA-TH
Uranium age # Uranium dating #Uranium age determination
Uranium-235/Paladium-231 Age #U-235/Pa-231 Age # U-235/Pa-231 Dating #Uranium-Paladium Age #Uranium/Paladium Age #Uranium-Paladium Dating#Uranium/Paladium Dating #U/Pa Age #U-Pa Age #U/Pa Dating #U-Pa Dating #U235_Pa231 Age Determination #U_PA
Uranium-Lead Age #Uranium/Lead Age # Uranium-Lead Dating #U/Pb dating# U-Pb dating #U/Pb Age# U-Pb Age#Uranium/Lead Dating #Uranium Lead Age Determination #U_PB #Uranium-Lead Age Determination #U-PB
Uranium-238/Thorium-230 Age #Uranium-238/Thorium-230 Dating #U-238/Tho-230 Age #U-238/Tho-230 Dating #Uranium-Thorium Dating #Uranium Thorium Dating # Uranium/Thorium Dating #Uranium Thorium Age # Uranium/Thorium Age# Uranium-Thorium Age #U-Th Age #U-Th Dating# U238_Th230 Age Determination #U_TH
Uranium-Thorium-Helium Age #Uranium-Thorium-Helium Dating #Uranium-Thorium-Helium Dating #U-Th-He Age #U-Th-He Dating #U-Th-He Age Determination #U_TH_HE
Thorium-Lead Age # Thorium-Lead Dating #Thorium Lead Age # Thorium Lead Dating #Thorium/Lead Age # Thorium/Lead Dating #Th/Pb Age #Th/Pb Dating # #Th-Pb Age #Th-Pb Dating# Thorium-Lead Age Determination #TH_PB
Samarium-Neodymium Age #Samarium-Neodymium Dating #Sm-Nd Dating #Sm-Nd Age #Sm Nd Dating #Sm-147/Nd 143 Age #Sm-147/Nd 143 Dating# Sm Nd Age #Sm/Nd Dating # #Sm/Nd Age #Samarium-Neodymium Dating #Samarium-Neodymium Age Determination #SM-ND
Rhenium-Osmium Age #Rhenium-Osmium Dating # Rhenium/Osmium Age #Rhenium/Osmium Dating #Re-Os Age #Re/Os Age#Re/Os Dating# Re-187/Os-187 Age #Re-187/Os-187 Dating#Re-Os Dating# Rhenium-Osmium Dating #Rhenium-Osmium Age Determination #RE-OS
aluminum (measured) #Al,
aluminum isotope Al-26 #Al26
dialuminum dioxide #Al2O2
aluminium oxide #Al2O3
ratio of aluminum isotope Al-27 to magnesium isotope Mg-24 #Al27/Mg24
ammonia #NH3
ammonium #NH4
antimony #Sb,
argon (measured) #Ar,
argon isotope Ar-36 #Ar36
ratio of argon isotopes Ar-36 to Ar-38 #Ar36/Ar38
ratio of argon isotopes Ar-36 to Ar-39 #Ar36/Ar39
ratio of argon isotopes Ar-36 to Ar-40 #Ar36/Ar40
ratio of argon isotope Ar-36 to xenon isotope Xe-132 #Ar36/Xe132
argon isotope Ar-37 #Ar37
ratio of Ar-37 to Ar-40 #Ar37/Ar40
argon isotope Ar-38 #Ar38
ratio of argon isotopes Ar-38 to Ar-36 #Ar38/Ar36
ratio of argon isotopes Ar-38 to Ar-40 #Ar38/Ar40
argon isotope Ar-39 #Ar39
ratio of argon isotopes Ar-39 to Ar-40 #Ar39/Ar40
argon isotope Ar-40 #Ar40
ratio of argon isotopes Ar-40 to Ar-36 #Ar40/Ar36
initial ratio of argon isotopes Ar-40 to Ar-37 #Ar40/Ar36_Initial
ratio of argon isotopes Ar-40 to Ar-39 #Ar40/Ar39
atmospheric argon isotope ar40 #Ar40/ATM
ratio of argon isotopes Ar-40 to helium isotope He-4 #Ar40/He4
radiogenic ar40 #Ar40*
ratio of argon isotopes, radiogenic Ar-40 to Ar-39 produced from K #Ar40*/Ar39_K
arsenic
barium #Ba,
ratio of barium to calcium #Ba/Ca
barium oxide #BaO
barite #BaSO4
beryllium #Be,
beryllium isotope Be-9 #Be9
beryllium isotope Be-10 #Be10
ratio of beryllium isotopes Be-10 to Be-9 #Be10/Be9
ratio of isotopes Be-10 to Be-9, time corrected #Be10/Be9(T)
bismuth #Bi,
boron #B,
ratio of boron to calcium #B/Ca
ratio of boron isotopes B-11 to B-10 #B11/B10
delta_B11 calculated as (B11/B10_sample / B11/B10_ NIST SRM951 -1)*1000 #Delta_B11
bromium #Br,
bromide #Br-,
carbon (measured) #C,
inorganic carbon #C(inorg)
dissolved inorganic carbon
organic carbon #C(org)
ratio of organic carbon to total nitrogen #C/N
total organic carbon
total carbon #C(tot)
non-carbonate carbon #C(non-carb)
carbon isotope C-14 #C14
C-14_Age #C14_Age #calibrated C-14_Age #C14_Age_Calibrated
carbon monoxide (measured) #CO
carbon dioxide (measured) #CO2
methane (measured) #CH4,
bicarbonate #HCO3
delta_C13 calculated as (C13/C12_sample / C13/C12_PDB -1)*1000 #Delta_C13
calcium #Ca,
calcium oxide #CaO
calcium sulfate #CaSO4
ratio of calcium to potassium #Ca/K
calcium isotope Ca-41 #Ca41
calcium carbonate #CaCO3
delta_Ca44 calculated as (Ca44/Ca40_sample / Ca44/Ca40_std -1)*1000 #Delta_Ca44
cadmium #Cd,
ratio of cadmium to calcium #Cd/Ca
E_Cd calculated as (Cd114/Cd110_sample/ Cd114/Cd110_std - 1)*1000 #E_Cd
cerium #Ce,
ratio of cerium isotopes Ce-136 to Ce-142 #Ce136/Ce142
ratio of cerium isotopes Ce-138 to Ce-142 #Ce138/Ce142
ratio of cerium to neodymium isotopes Ce-140 to Nd-146 #Ce140/Nd146
cerium oxide #Ce2O3
cerium dioxide #CeO2
E_Ce calculated as (Ce138/Ce142_sample/ Ce138/Ce142_std - 1)*1000 #E_Ce
chlorine #Cl,
radiogenic Cl isotope Cl-36 #Cl36
radiogenic Cl isotope Cl-38 #Cl38
delta_Cl37 calculated as (Cl37/Cl35_sample / Cl37/Cl35_SMOC -1)*1000 #Delta_Cl37
cobalt #Co,
cobalt isotope Co-56 #Co56
cobalt oxide #CoO
chromium #Cr,
chromium oxide #Cr2O3
cesium #Cs,
cesium isotope Cs-137 reported as activity #Cs137_Activity
copper #Cu,
cuprous oxide #Cu2O #copper(i) oxide
copper oxide #CuO
delta_Cu65 calculated as (Cu65/Cu63_sample / Cu65/Cu63_NIST-976 - 1)*1000 #delta_Cu65
dysprosium #Dy,
dysprosium oxide #Dy2O3
erbium #Er,
erbium oxide #Er2O3
europium #Eu,
europium oxide #Eu2O3
fluorine #F,
francium #Fr,
gallium #Ga,
gadolinium #Gd,
ratio of gadolinium isotope Gd155 to samarium isotope Sm152 #Gd155/Sm152
gadolinium oxide #Gd2O3
germanium #Ge,
gold (measured) #Au,
hydrogen (H) #H #total hydrogen #H(TOT)
hydrogen (H2) #H2
water (H2O) #H2O
crystal water (H2O-) #H2OM
crystal water (H2O+) #H2OP
hydrogen sulfide #H2S
total hydrogen sulfide #H2S(TOT)
delta_D calculated as (H2/H1_sample / H2/H1_std -1)*1000 #delta_D
helium #He,
helium isotope He3 #He3
ratio of helium isotopes He3 to He4 #He3/He4
ratio of helium isotopes He3 to He4 expressed relative to the helium isotope ratio of the atmosphere #He3/He4(R/Ra)
helium isotope He4 #He4
helium isotope He4 measured by neutron coincidence counting #He4(NCC)
ratio of helium isotope He4 to argon isotope Ar40 #He4/Ar40
ratio of helium isotopes He4 to He3 #He4/He3
ratio of helium isotope He4 to neon isotope Ne20 #He4/Ne20
ratio of helium isotope He4 to neon isotope Ne21 #He4/Ne21
hafnium #Hf,
ratio of hafnium isotopes Hf174 to Hf177 #Hf174/Hf177
ratio of hafnium isotopes Hf176 to Hf177 #Hf176/Hf177
ratio of hafnium isotopes Hf176 to Hf177 at initial time #Hf176/Hf177(I)
ratio of hafnium isotopes Hf176 to Hf177, time corrected #Hf176/Hf177(T)
ratio of hafnium isotopes Hf177 to Hf178 #Hf177/Hf178
ratio of hafnium isotopes Hf178 to Hf177 #Hf178/Hf177
ratio of hafnium isotopes Hf179 to Hf177 #Hf179/Hf177
ratio of hafnium isotopes Hf180 to Hf177 #Hf180/Hf177
ratio of hafnium isotope Hf180 to wolfram isotope W184 #Hf180/W184
hafnium dioxide #HfO
hafnium oxide #HfO2
E_Hf calculated as (176Hf/177Hf_sample/ 176Hf/177Hf_std - 1)*1000 #E_Hf #E_Hf(T)
holmium #Ho,
holmium oxide #Ho2O3
iodine
indium
iridium (measured) #Ir,
iron #Fe,
ferric iron oxide (tri-valent iron) #Fe2O3
total iron oxide content reported as ferric (tri-valent) iron #Fe2O3T
ferrosoferric oxide (Iron (II,III) oxide) #Fe3O4
ratio of feric iron to total iron #Fe3/FeT
siderite #FeCO3
iron ferrite (FeFe2O4) #Fe-Fe
ferrous iron oxide (di-valent) #FeO
total iron oxide content reported as ferrous (di-valent) iron #FeOT
ferrous sulfide (di-valent) #FeS
iron sulfide #FeS2
delta_Fe56 calculated as (Fe56/Fe54_ sample / Fe56/Fe54_IRMM-014 -1)*1000 #delta_Fe56
krypton #Kr,
krypton isotope Kr78 #Kr78
ratio of krypton isotopes Kr78 to Kr83 #Kr78/Kr83
ratio of krypton isotopes Kr78 to Kr84 #Kr78/Kr84
ratio of krypton isotopes Kr78 to Kr86 #Kr78/Kr86
krypton isotope Kr80 #Kr80
ratio of krypton isotopes Kr80 to Kr83 #Kr80/Kr83
ratio of krypton isotopes Kr80 to Kr84 #Kr80/Kr84
ratio of krypton isotopes Kr80 to Kr86 #Kr80/Kr86
krypton isotope Kr81 #Kr81
ratio of krypton isotopes Kr81 to Kr86 #Kr81/Kr86
krypton isotope Kr82 #Kr82
ratio of krypton isotopes Kr82 to Kr83 #Kr82/Kr83
ratio of krypton isotopes Kr82 to Kr84 #Kr82/Kr84
ratio of krypton isotopes Kr82 to Kr86 #Kr82/Kr86
krypton isotope Kr83 #Kr83
ratio of krypton isotopes Kr83 to Kr84 #Kr83/Kr84
ratio of krypton isotopes Kr83 to Kr86 #Kr83/Kr86
krypton isotope kr84 #Kr84
ratio of krypton isotopes Kr84 to Kr83 #Kr84/Kr83
ratio of krypton isotopes Kr84 to Kr86 #Kr84/Kr86
ratio of krypton isotopes Kr84 to xenon isotopes Xe132 #Kr84/Xe132
krypton isotope Kr86 #Kr86
ratio of krypton isotopes Kr86 to Kr84 #Kr86/Kr84
krypton isotope Kr90 #Kr90
lanthanum #La,
lanthanum oxide #La2O3
lead (Pb) #Pb,
lead isotope Pb204 #Pb204
ratio of lead isotopes Pb204 to Pb206 #Pb204_Pb206
ratio of lead isotopes Pb204 to Pb208 #Pb204_Pb208
lead isotope 206 #Pb206
ratio of lead isotopes Pb206 to Pb204 #Pb206_Pb204
ratio of lead isotopes Pb206 to Pb204 at initial age #Pb206/Pb204(I)
ratio of lead isotopes Pb206 to Pb204, time corrected #Pb206/Pb204(T)
ratio of lead isotopes Pb206 to Pb207 #Pb206/Pb207
ratio of lead isotopes Pb206 to Pb208 #Pb206/Pb208
ratio of lead isotope Pb206 to uranium isotope U235 #Pb206/U235
ratio of lead isotope Pb206 to uranium isotope U238 #Pb206/U238
ratio of lead isotope Pb206 to uranium isotope U238, time corrected #Pb206/U238(T)
lead isotope Pb207 #Pb207
ratio of lead isotopes Pb207 to Pb204 #Pb207/Pb204
ratio of lead isotopes Pb207 to Pb204 at initial age #Pb207/Pb204(I)
ratio of lead isotopes Pb207 to Pb204, time corrected #Pb207/Pb204(T)
ratio of lead isotopes Pb207 to Pb206 #Pb207/Pb206
ratio of lead isotopes Pb207 to Pb206 at initial age #Pb207/Pb206(I)
ratio of lead isotopes Pb207 to Pb208 #Pb207/Pb208
ratio of lead isotope Pb207 to uranium isotope U235 #Pb207/U235
ratio of lead isotope Pb207 to uranium isotope U235, time corrected #Pb207/U235(T)
lead isotope Pb208 #Pb208
ratio of lead isotopes Pb208 to Pb204 #Pb208/Pb204
ratio of lead isotopes Pb208 to Pb204 at initial age #Pb208/Pb204(I)
ratio of lead isotopes Pb208 to Pb204, time corrected #Pb208/Pb204(T)
ratio of lead isotopes Pb208 to Pb206 #Pb208/Pb206
ratio of lead isotopes Pb208 to Pb206 at initial age #Pb208/Pb206(I)
ratio of lead isotope Pb208 to thorium isotope Th232 #Pb208/Th232
ratio of lead isotope Pb208 to thorium isotope Th232, time corrected #Pb208/Th232(T)
lead isotope Pb210 #Pb210
lead isotope Pb210, reported as activity #Pb210_ACTIVITY
ratio of lead isotope Pb210 to radium isotope Ra226 #Pb210/Ra226
ratio of lead isotope Pb210 to radium isotope Ra226, reported as activity #Pb210/Ra226_ACTIVITY
ratio of lead isotope Pb210 to uranium isotope U238 #Pb210/U238
excess lead Pb210 #Pb210_XS
lead oxide #PbO
lithium #Li,
ratio of lithium isotopes Li7 to Li6 #Li7/Li6
delta_Li6 calculated as (Li6/Li7_sample / Li6/Li7_std -1)*1000 #delta_Li6
delta_Li7 calculated as (Li7/Li6_sample / Li7/Li6_std -1)*1000 #delta_Li7
lutetium #Lu,
ratio of lutetium isotope Lu176 to hafnium isotope Hf177 #Lu176/Hf177
ratio of lutetium isotope Lu176 to hafnium isotope Hf177, time corrected #Lu176/Hf177(T)
ratio of lutetium isotopes Lu176 to Lu177 #Lu176/Lu177
lutetium oxide #Lu2O3
magnesium #Mg,
ratio of magnesium to calcium #Mg/Ca
magnesium oxide #MgO
delta_Mg25 calculated as (Mg25/Mg24_sample / Mg25/Mg24_std - 1)*1000 #delta_Mg25
delta_Mg26 calculated as (Mg26/Mg24_sample / Mg26/Mg24_std - 1)*1000 #delta_Mg26
E_Mg25 calculated as (Mg25/Mg24_sample/ Mg25/Mg24_std - 1)*1000 #E_Mg25
E_Mg26 calculated as (Mg26/Mg24_sample/ Mg26/Mg24_std - 1)*1000 #E_Mg26
manganese #Mn,
ratio of manganese to calcium #Mn_Ca
manganese tetroxide #Mn3O4
manganese isotope Mn54 #Mn54
manganese carbonate #MnCO3
manganese oxide #MnO
mercury #Hg,
molybdenum #Mo,
delta_Mo98 calculated as (Mo98/Mo95_sample / Mo98/Mo95_std - 1)*1000 #delta_Mo98
neodymium #Nd,
ratio of neodymium to calcium #Nd/Ca
ratio of neodymium isotopes Nd142 to Nd144 #Nd142/Nd144
ratio of neodymium isotopes Nd143 to Nd144 #Nd143/Nd144
ratio of neodymium isotopes Nd143 to Nd144 at initial age #Nd143/Nd144(I)
ratio of neodymium isotopes Nd143 to Nd144, time corrected #Nd143/Nd144(T)
neodymium isotope Nd144 #Nd144
ratio of neodymium isotopes Nd144 to Nd146 #Nd144/Nd146
ratio of neodymium isotopes Nd145 to Nd144 #Nd145/Nd144
ratio of neodymium isotopes Nd146 to Nd142 #Nd146/Nd142
ratio of neodymium isotopes Nd146 to Nd144 #Nd146/Nd144
ratio of neodymium isotopes Nd146 to Nd145 #Nd146/Nd145
ratio of neodymium isotope Nd146 to samarium isotope Sm152 #Nd146/Sm152
ratio of neodymium isotopes Nd148 to Nd144 #Nd148/Nd144
ratio of neodymium Nd148 oxide to neodymium Nd144 oxide #Nd148O/Nd144O
ratio of neodymium isotopes Nd150 to Nd144 #Nd150/Nd144
neodymium oxide #Nd2O3
E_Nd calculated as (Nd143/Nd144_sample/ Nd143/Nd144_std - 1)*1000 #E_Nd ##E_Nd(T)
neon #Ne,
neon isotope ne20 #Ne20
ratio of neon isotope Ne20 to Ne21 #Ne20/Ne21
ratio of neon isotope Ne20 to Ne22 #Ne20/Ne22
neon isotope Ne21 #Ne21
ratio of neon isotope Ne21 to helium isotope He4 #Ne21/He4
ratio of neon isotope Ne21 to Ne20 #Ne21/Ne20
ratio of neon isotope Ne21 to Ne22 #Ne21/Ne22
neon isotope Ne22 #Ne22
ratio of neon isotope Ne22 to Ne20 #Ne22/Ne20
ratio of neon isotope Ne22 to Ne21 #Ne22/Ne21
neon isotope Ne23 #Ne23
nickel #Ni,
nickel oxide #NiO,
delta_Ni60 calculated as (Ni60/Ni58_sample / Ni60/Ni58_std - 1)*1000 #delta_Ni60
niobium #Nb,
niobium oxide #Nb2O3
niobium pentoxide #Nb2O5
nitrogen #N,
percent nitrogen in the a defect site of diamonds #N(A)
percent nitrogen in the b defect site of diamonds #N(B)
organic nitrogen #N(ORG)
total nitrogen #N(TOT)
nitrogen #N2 #nitrogen measured in nanomols #N2[nmol]
ratio of nitrogen isotope N2 to argon isotope Ar36 #N2/Ar36
ratio of nitrogen isotope N2 to helium isotope He3 #N2/He3
nitrogen dioxide #NO2
nitrate #NO3
delta_N15 calculated as (N15/N14_sample / N15/N14_std - 1)*1000 #delta_N15
oxygen
ratio of oxygen isotopes O17 to O16 #O17/O16
ratio of oxygen isotopes O18 to O16 #O18/O16
dioxygen #O2
hydroxide #OH
delta_O17 calculated as (O17/O16_sample / O17/O16_std - 1)*1000 #delta_O17
delta_O18 calculated as (O18/O16_sample / O18/O16_std - 1)*1000 #delta_O18
cap_delta_O17 - deviation from the Earth-Moon line of O17/O16 and O18/O16 ratios #Cap_Delta_O17
osmium #Os,
common osmium at initial age #Os(I)
ratio of osmium isotopes Os184 to Os188 #Os184/Os188
ratio of osmium isotopes Os186 to Os188 #Os186/Os188
ratio of osmium isotopes Os187 to Os186 #Os187/Os186
ratio of osmium isotopes Os187 to Os188 #Os187/Os188
ratio of osmium isotopes Os187 to Os188 at initial age #Os187/Os188(I)
ratio of osmium isotopes Os187 to Os188, time corrected #Os187/Os188(T)
osmium isotope Os188 #Os188
ratio of osmium isotopes Os188 to Os192 #Os188/Os192
ratio of osmium isotopes Os189 to Os188 #Os189/Os188
ratio of osmium isotopes Os190 to Os188 #Os190/Os188
ratio of osmium isotopes Os192 to Os188 #Os192/Os188
gamma osmium #G_Os #G_Os(T)
palladium (measured) #Pd,
pH
phosphorus
phosphorous, organic #P(ORG)
phosphorus trioxide #P2O3
phosphorus oxide #P2O5
phosphate #PO4
platinum (measured)#Pt,
ratio of platinum isotope Pt190 to osmium isotope Os188 #Pt190/Os188
polonium isotope Po210 #Po210
polonium isotope Po210, reported as activity #Po210_ACTIVITY
ratio of polonium isotope Po210 to lead isotope Pb210 #Po210/Pb210
potassium #K,
potassium oxide #K2O
protactinium
protactinium isotope Pa231 #Pa231
protactinium isotope Pa231, reported as activity #Pa231_ACTIVITY
ratio of protactinium isotope Pa231 to thorium isotope Th230 #Pa231/Th230
ratio of protactinium isotope Pa231 to uranium isotope U235, reported as activity #Pa231/U235_ACTIVITY
excess protactinium Pa231 #Pa231_XS
praseodymium #Pr,
praseodymium oxide #Pr2O3
praseodymium (III, IV) oxide #Pr6O11
radium #Ra,
radium isotope Ra226 #Ra226
radium isotope Ra226, reported as activity #Ra226_ACTIVITY
ratio of radium isotope Ra226 to thorium isotope Th230 #Ra226/Th230
ratio of radium isotope Ra226 to thorium isotope Th230, reported as activity #Ra226/Th230/ACTIVITY
rhenium #Re,
ratio of rhenium isotope Re187 to osmium isotope Os186 #Re187/Os186
ratio of rhenium isotope Re187 to osmium isotope Os188 #Re187/Os188
ratio of rhenium isotope Re187 to osmium isotope Os189 #Re187/Os189
rhodium #Rh,
rubidium #Rb,
rubidium isotope Rb87 #Rb87
ratio of rubidium isotopes Rb87 to Rb86 #Rb87/Rb86
ratio of rubidium isotope Rb87 to strontium isotope Sr86 #Rb87/Sr86
ruthenium #Ru,
samarium #Sm,
ratio of samarium isotopes Sm144 to Sm152 #Sm144/Sm152
samarium isotope Sm147 #Sm147
ratio of samarium isotope Sm147 to neodymium isotope Nd143 #Sm147/Nd143
ratio of samarium isotope Sm147 to neodymium isotope Nd144 #Sm147/Nd144
ratio of samarium to neodymium isotopes Sm147 to Nd146 #Sm147/Nd146
ratio of samarium isotopes Sm148 to Sm152 #Sm148/Sm152
ratio of samarium isotopes Sm149 to Sm152 #Sm149/Sm152
ratio of samarium isotopes Sm150 to Sm152 #Sm150/Sm152
ratio of samarium isotopes Sm154 to Sm152 #Sm154/Sm152
samarium oxide #Sm2O3
scandium #Sc,
scandium oxide #Sc2O3
scandium isotope Sc46 #Sc46
selenium #Se,
silica #Si,
amorphous silica #Si(AMORPH)
silica oxide #SiO2
SiO2, high pressure #SIOH
silicic acid #H4SiO4
delta_Si29 calculated as (Si29/Si28_sample / Si29/Si28_std - 1)*1000 #delta_Si29
delta_Si30 calculated as (Si30/Si28_sample / Si30/Si28_std - 1)*1000 #delta_Si30
sodium #Na,
sodium isotope Na22 #Na22
sodium oxide #Na2O
silver (measured) #Ag,
strontium #Sr,
ratio of Sr to Ca #Sr/Ca
ratio of strontium isotopes Sr84 to Sr86 #Sr84/Sr86
ratio of strontium isotopes Sr84 to Sr88 #Sr84/Sr88
strontium isotope 86 #Sr86
ratio of strontium isotopes Sr86 to Sr88 #Sr86/Sr88
ratio of strontium isotopes Sr87 to Sr86 #Sr87/Sr86
ratio of strontium isotopes Sr87 to Sr86 at initial age #Sr87/Sr86(I)
ratio of strontium isotopes Sr87 to Sr86, time corrected #Sr87/Sr86(T)
ratio of strontium isotopes Sr87 to Sr88 #Sr87/Sr88
ratio of strontium isotopes Sr88 to Sr86 #Sr88/Sr86
strontium oxide #SrO,
E_Sr calculated as (Sr87/Sr86_sample/ Sr87/Sr86_std - 1)*1000 #E_Sr #E_Sr(T)
sulfur #S, #total sulfur #S(TOT)
sulfur dioxide #SO2
sulfur trioxide #SO3
sulfate #SO4
sulfur present as sulfide #S_(SLFI)
sulfur present in pyrite form #S_PY
delta_S33 calculated as (S33/S32_sample / S33/S32_std - 1)*1000 #DELTA_S33
delta_S34 calculated as (S34/S32_sample / S34/S32_std - 1)*1000 #DELTA_S34
delta_S34SO4 sulfur isotope of the sulfate; calculated as (S33/S32_sample / S33/S32_std - 1)*1000 #DELTA_S34SO4
delta_S36 calculated as (S36/S32_sample / S36/S32_std - 1)*1000 #DELTA_S36
deviation of delta_S33 from the terrestrial fractionation array #Cap_Delta_S33
deviation of delta_S36 from the terrestrial fractionation array #cap_delta_S36
tantalum #Ta,
tantalum oxide #Ta2O5
tellurium #Te,
terbium #Tb,
terbium oxide #Tb2O3
thallium #Tl,
ratio of thallium isotopes Tl203 to Tl205 #Tl203/Tl205
ratio of thallium isotopes Tl205 to Tl203 #Tl205/Tl203
E_Tl calculated as (Tl205/Tl203_sample/ Tl205/Tl203_std - 1)*1000 #E_Tl
thorium #Th,
Th227 reported as activity #Th227_ACTIVITY
ratio of thorium isotopes Th228 to Th232 #Th228/Th232
thorium isotope Th230 #Th230
thorium isotope Th230, reported as activity #Th230_ACTIVITY
ratio of thorium isotopes Th230 to Th232 #Th230/Th232
ratio of thorium isotopes Th230 to Th232, reported as activity #Th230/Th232_ACTIVITY
ratio of thorium isotope Th230 to uranium isotope U238 #Th230/U238
ratio of thorium isotope Th230 to uranium isotope U238, reported as activity #Th230_U238_ACTIVITY
excess thorium 230 #Th230_XS
thorium 232 #Th232
thorium isotope Th232, reported as activity #Th232_ACTIVITY
ratio of thorium isotope Th232 to lead isotope Pb204 #Th232_Pb204
ratio of thorium isotope Th232 to lead isotope Pb208 #Th232_Pb208
ratio of isotopes Th232 to Th230 #Th232_Th230
ratio of isotopes Th232 to Th230 measured as activity #Th232/Th230_ACTIVITY
ratio of thorium isotope Th232 to uranium isotope U238 #Th232/U238
thorium 234 #Th234
thorium 234 excess #Th234_XS
ratio of thorium isotopes Th238 to Th232, reported as activity #Th238/Th232_ACTIVITY
thorium monoxide #ThO
thorium dioxide #ThO2
thulium #Tm,
thulium oxide #Tm2O3
tin #Sn,
titanium #Ti,
titanium(III) oxide #Ti2O3
ti-magnetite #TI-MT
titanoniobate #TI-NB
titanium(II) oxide #TiO,
titanium oxide #TiO2
delta_Ti49 calculated as (Ti49/Ti47_sample / Ti49/Ti47_std - 1)*1000 #delta_Ti49
tungsten #W,
tungsten trioxide #WO3
E_W182 calculated as (W182/W184_sample/ W182/W184_std - 1)*1000 #E_W182
E_W183 calculated as (W183/W184_sample/ W183/W184_std - 1)*1000 #E_W183
uranium #U,
ratio of uranium to zirconium isotope Zr91 #U/Zr91
ratio of uranium to zirconium isotope Zr92 #U/Zr92
ratio of uranium isotope U230 to thorium isotope Th232, reported as activity #U230/Th232_ACTIVITY
uranium isotope U234 #U234
uranium isotope U234, reported as activity #U234_ACTIVITY
ratio of uranium isotopes U234 to U238 #U234/U238
ratio of uranium isotopes U234 to U238, measured as activity #U234/U238_ACTIVITY
ratio of uranium isotopes U234 to U238, measured as activity at time t #U234/U238_ACTIVITY(T)
ratio of uranium isotopes U234 to U238, reported as activity #U234/U238_ACTIVITY
ratio of uranium isotope U235 to lead isotope Pb204 #U235/Pb204
ratio of uranium isotope U235 to lead isotope Pb207 #U235/Pb207
ratio of isotopes U235 to U234 #U235/U234
ratio of uranium isotope U236 to lead isotope Pb204 #U236/Pb204
ratio of isotopes U236 to U238 #U236/U238
uranium isotope U238 #U238
uranium isotope U238, reported as activity #U238_ACTIVITY
ratio of uranium isotope U238 to lead isotope Pb204 #U238/Pb204
ratio of uranium isotope U238 to lead isotope Pb206 #U238/Pb206
ratio of uranium isotope U238 to lead isotope Pb208 #U238/Pb208
ratio of uranium isotope U238 to thorium isotope Th230 #U238/Th230
ratio of uranium isotope U238 to thorium isotope Th230, reported as activity #U238/Th230_ACTIVITY
ratio of uranium isotope U238 to thorium isotope Th232 #U238/Th232
ratio of uranium isotope U238 to thorium isotope Th232, reported as activity #U238/Th232_ACTIVITY
uranium oxide #UO2
delta_U234 calculated as (U234/U238_sample / U234/U238_secular_equilibrium - 1)*1000 #DELTA_U234
delta_U238 calculated as (U238/U235_sample / U238/U235_secular_equilibrium - 1)*1000 #DELTA_U238
vanadium #V,
vanadium sesquioxide #V2O3
vanadium pentoxide #V2O5
vanadium isotope V48 #V48,
delta_V51 calculated as (V51/V50_sample / V51/V50_std - 1)*1000 #DELTA_V51
xenon #Xe,
xenon isotope Xe124 #Xe124
ratio of xenon isotopes Xe124 to Xe126 #Xe124/Xe126
ratio of xenon isotopes Xe124 to Xe130 #Xe124/Xe130
ratio of xenon isotopes Xe124 to Xe132 #Xe124/Xe132
xenon isotope Xe126 #Xe126
ratio of xenon isotopes Xe126 to Xe130 #Xe126/Xe130
ratio of xenon isotopes Xe126 to Xe132 #Xe126/Xe132
xenon isotope Xe128 #Xe128
ratio of xenon isotopes Xe128 to Xe130 #Xe128/Xe130
ratio of xenon isotopes Xe128 to Xe132 #Xe128/Xe132
xenon isotope Xe129 #Xe129
ratio of xenon isotopes Xe129 to Xe130 #Xe129/Xe130
ratio of xenon isotopes Xe129 to Xe132 #Xe129/Xe132
ratio of xenon isotopes Xe129 to Xe136 #Xe129/Xe136
xenon isotope Xe130 #Xe130
ratio of xenon isotopes Xe130 to Xe132 #Xe130/Xe132
xenon isotope Xe131 #Xe131
ratio of xenon isotopes Xe131 to Xe126 #Xe131/Xe126
ratio of xenon isotopes Xe131 to Xe130 #Xe131/Xe130
ratio of xenon isotopes Xe131 to Xe132 #Xe131/Xe132
xenon isotope Xe132 #Xe132
ratio of xenon isotopes Xe132 to Xe130 #Xe132/Xe130
xenon isotope Xe134 #Xe134
ratio of xenon isotopes Xe134 to Xe130 #Xe134/Xe130
ratio of xenon isotopes Xe134 to Xe132 #Xe134/Xe132
ratio of xenon isotopes Xe134 to Xe136 #Xe134/Xe136
xenon isotope Xe136 #Xe136
ratio of xenon isotope Xe136 to helium isotope he4 #Xe136/He4
ratio of xenon isotopes Xe136 to Xe130 #Xe136/Xe130
ratio of xenon isotopes Xe136 to Xe132 #Xe136/Xe132
yttrium #Y,
yttrium(III) oxide #Y2O3
yttrium oxide #YO2
ytterbium #Yb,
ratio of ytterbium isotope Yb176 to hafnium isotope Hf177 #Yb176/Hf177
ytterbium oxide #Yb2O3
zinc #Zn,
zinc oxide #ZnO,
delta_Zn66 calculated as (Zn66/Zn64_sample / Zn66/Zn64_std - 1)*1000 #DELTA_Zn66
delta_Zn68 calculated as (Zn68/Zn64_sample / Zn68/Zn64_std - 1)*1000 #DELTA_Zn68
zirconium #Zr,
zirconium pentoxide #Zr2O3
zirconium oxide #ZrO2